## Sheet1
obligation_id | obligation_title | obligation_description | regulation_name | regulation_type | rule_clause_reference | legal_text_excerpt | issuing_authority | enforcement_authority | jurisdiction_level | state_name | gazette_notification_no | gazette_date | legal_mandatory_flag
MOP-EA-001 | Energy Storage System recognition | Energy storage systems shall be treated as a separate asset class eligible for scheduling and dispatch | Electricity (Amendment) Rules, 2025 | Rules | Rule 18 (inserted) | “Energy Storage Systems may be developed, owned, operated by generating companies, licensees, consumers or independent service providers.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. (2025) | 2025-09-19 | Mandatory
MOP-EA-002 | Registration of storage providers | All independent storage providers must register with appropriate commission | Electricity (Amendment) Rules, 2025 | Rules | Rule 18(3) | “Independent Energy Storage Service Providers shall register with the Appropriate Commission.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. (2025) | 2025-09-19 | Mandatory
MOP-RCO-001 | Renewable Consumption Obligation | Obligated entities must meet minimum renewable consumption targets | Revised RCO Gazette Notification | Notification | Clause 4 | “Every obligated entity shall meet the minimum renewable consumption obligation as specified.” | Ministry of Power | BEE / SERCs | Central |  | S.O. (2025) | 2025-09-27 | Mandatory
MOP-RCO-002 | Annual RCO reporting | Obligated entities must submit annual RCO compliance report | Revised RCO Gazette Notification | Notification | Clause 7 | “Obligated entities shall submit annual compliance report to the designated authority.” | Ministry of Power | BEE | Central |  | S.O. (2025) | 2025-09-27 | Mandatory
MOP-EC-001 | Energy consumption audit | Designated consumers must undergo periodic energy audits | Energy Conservation Compliance & Enforcement Rules, 2025 (Draft) | Rules | Rule 5 | “Every designated consumer shall conduct energy audit at intervals as notified.” | Ministry of Power | BEE | Central |  | Draft | 2025 | Mandatory
MOP-EC-002 | Submission of compliance report | Designated consumers must file compliance returns on energy efficiency | Energy Conservation Compliance & Enforcement Rules, 2025 (Draft) | Rules | Rule 9 | “Every designated consumer shall submit compliance report in prescribed format.” | Ministry of Power | BEE | Central |  | Draft | 2025 | Mandatory
MOP-BIO-001 | Biomass co-firing minimum | Coal plants must co-fire minimum percentage of biomass pellets | Biomass Co-firing Policy | Policy | Para 3 | “All coal based TPPs shall co-fire biomass pellets up to notified levels.” | Ministry of Power | CEA / SPCBs | Central |  | Policy Doc | 2025 | Mandatory
MOP-BIO-002 | Monthly reporting of biomass usage | Plants must report monthly biomass consumption | Biomass Co-firing Policy | Policy | Para 6 | “Monthly reports on biomass consumption shall be submitted to CEA.” | Ministry of Power | CEA | Central |  | Policy Doc | 2025 | Mandatory
MOP-TAR-001 | Uniform renewable tariff adoption | DISCOMs must adopt uniform tariff mechanism for renewable procurement | Uniform Renewable Energy Tariff Mechanism | Notification | Clause 2 | “All DISCOMs shall procure renewable power under the uniform tariff mechanism.” | Ministry of Power | CERC / SERCs | Central |  | S.O. (2025) | 2025 | Mandatory
MOP-COAL-001 | Coal linkage compliance | All allocations must follow notified linkage methodology | Coal Linkage Methodology Letter | Executive Order | Para 4 | “Coal linkage shall be allocated strictly as per the window methodology.” | Ministry of Power | Coal Controller | Central |  | Office Memorandum | 2025-07-17 | Mandatory
MOP-CEA-001 | DPR appraisal threshold | Hydro projects above revised capex limit require CEA concurrence | CEA Capital Expenditure Revision | Notification | Clause 1 | “Projects exceeding revised capex limit shall obtain prior CEA concurrence.” | Ministry of Power | CEA | Central |  | Notification | 2025 | Mandatory
MOP-DPR-001 | DPR exemption conditions | Exempt projects must still submit DPR summary to CEA | DPR Appraisal Clarification | Clarification | Para 3 | “Exempted projects shall submit DPR summary for record.” | Ministry of Power | CEA | Central |  | Office Memo | 2025 | Mandatory
MOP-TSP-001 | Registration of TSP | Transmission Service Providers must comply with amended cost recovery mechanism | Electricity TSP Development & Recovery Rules, 2025 | Rules | Rule 5 (amended) | “All Transmission Service Providers shall recover charges as per notified methodology.” | Ministry of Power | CERC | Central |  | G.S.R. (2025) | 2025-06-25 | Mandatory
MOP-TSP-002 | ISTS charge recovery | ISTS charges shall be recovered only through approved mechanism | Electricity TSP Development & Recovery Rules, 2025 | Rules | Rule 7 | “Inter-State transmission charges shall be recovered only as per approved tariff.” | Ministry of Power | CERC | Central |  | G.S.R. (2025) | 2025-06-25 | Mandatory
MOP-GAS-001 | Mandatory generation under Section 11 | Gas based plants must operate when directed by Government | Directions to Gas Based Generating Stations | Order under Act | Section 11 | “All gas based generating stations shall operate as directed by Central Government.” | Ministry of Power | CEA / CERC | Central |  | Order | 2025 | Mandatory
MOP-GAS-002 | Data submission by GBS | Gas stations must submit operational data to CEA | Directions to Gas Based Generating Stations | Order | Para 6 | “Generating stations shall submit daily operational data.” | Ministry of Power | CEA | Central |  | Order | 2025 | Mandatory
MOP-LPS-001 | Late Payment Surcharge applicability | All DISCOMs shall pay surcharge for delayed payments | Electricity Late Payment Surcharge Amendment | Rules | Rule 3 | “Delayed payments shall attract late payment surcharge.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. | 2025 | Mandatory
MOP-VGF-001 | VGF utilisation reporting | Beneficiaries must report utilisation of VGF funds | VGF PSDF Order | Order | Para 5 | “All beneficiaries shall submit utilisation certificates.” | Ministry of Power | CEA | Central |  | OM | 2025-06-09 | Mandatory
MOP-REIA-001 | Registration as REIA | Entities must be designated to act as Renewable Energy Implementing Agency | REIA Guidelines | Guidelines | Clause 4 | “No entity shall function as REIA without designation.” | Ministry of Power | SECI / MNRE | Central |  | Guidelines | 2025 | Mandatory
MOP-TBCB-001 | Competitive bidding compliance | Transmission projects must be awarded only through TBCB | TBCB Process Guidelines | Guidelines | Clause 3 | “All ISTS projects shall be awarded through tariff based competitive bidding.” | Ministry of Power | CERC | Central |  | Guidelines | 2025 | Mandatory
MOP-BAT-001 | Battery swapping standards | Operators must follow notified safety and interoperability standards | Battery Swapping Guidelines | Guidelines | Para 5 | “Battery swapping stations shall comply with safety and interoperability norms.” | Ministry of Power | State Transport / DISCOMs | Central |  | Guidelines | 2025 | Mandatory
MOP-EV-001 | EV charging installation norms | Charging infrastructure must comply with technical standards | EV Charging Infrastructure Guidelines | Draft Guidelines | Clause 6 | “All public charging stations shall adhere to technical specifications.” | Ministry of Power | DISCOM / State Nodal Agency | Central |  | Draft | 2024 | Mandatory
MOP-LDC-001 | Workforce adequacy | Load Despatch Centres must maintain minimum staffing | Workforce Adequacy Guidelines | Guidelines | Clause 2 | “All LDCs shall maintain minimum workforce levels.” | Ministry of Power | Grid India | Central |  | Guidelines | 2025 | Mandatory
MOP-ICC-001 | Internal Complaints Committee | All offices must constitute ICC under POSH Act | Sexual Harassment ICC Order | Order | Entire order | “Every office shall constitute Internal Complaints Committee.” | Ministry of Power | Ministry / Heads of Office | Central |  | OM | 2025-02-18 | Mandatory
MOP-RPO-001 | RPO capping compliance | Obligated entities must apply capped RPO percentages | RCO/RPO Capping Clarification | Clarification | Para 2 | “RPO shall not exceed capped levels notified.” | Ministry of Power | SERCs | Central |  | Clarification | 2025 | Mandatory
MOP-NC-001 | National Committee constitution | Ministry must maintain committee as per notified composition | National Committee Composition Amendment | Notification | Clause 1 | “National Committee shall consist of members as specified.” | Ministry of Power | Ministry of Power | Central |  | Notification | 2025 | Mandatory
MOP-ROC-001 | Timely grievance redressal | Distribution licensees must resolve consumer grievances within prescribed timelines | Electricity (Rights of Consumers) Amendment Rules, 2024 | Rules | Rule 3 | “Distribution licensee shall resolve complaints within the specified time.” | Ministry of Power | SERCs | Central |  | G.S.R. (2024) | 2024 | Mandatory
MOP-ROC-002 | Compensation for service failures | Licensees must pay compensation for supply interruptions | Electricity (Rights of Consumers) Amendment Rules, 2024 | Rules | Rule 4 | “Compensation shall be payable for failure to meet standards.” | Ministry of Power | SERCs | Central |  | G.S.R. (2024) | 2024 | Mandatory
MOP-EA1-001 | Smart meter deployment | DISCOMs must install smart meters as per rollout plan | Electricity Amendment Rules (First), 2024 | Rules | Rule 8 | “Smart meters shall be installed in all urban areas.” | Ministry of Power | SERCs | Central |  | G.S.R. (2024) | 2024 | Mandatory
MOP-EA2-001 | Renewable scheduling | Renewable generators must participate in scheduling mechanisms | Electricity Amendment Rules (Second), 2024 | Rules | Rule 6 | “Renewable generators shall comply with scheduling framework.” | Ministry of Power | CERC | Central |  | G.S.R. (2024) | 2024 | Mandatory
MOP-EA3-001 | Market participation | Generators must transact power through approved market platforms | Electricity Amendment Rules (Third), 2024 | Rules | Rule 5 | “Transactions shall be routed through power exchanges.” | Ministry of Power | CERC | Central |  | G.S.R. (2024) | 2024 | Mandatory
MOP-GEOA-001 | Open access alignment | DISCOMs must align procedures with General Network Access | GEOA Alignment Order | Order | Entire order | “All utilities shall comply with General Network Access framework.” | Ministry of Power | CERC | Central |  | OM | 2024-02-12 | Mandatory
MOP-PPP-001 | Local content preference | Procuring entities must apply Make in India purchase preference | Public Procurement (Power Sector) | Policy | Clause 3 | “Purchase preference shall be given to local suppliers.” | Ministry of Power | CVC / Ministries | Central |  | Notification | 2024 | Mandatory
MOP-ROW-001 | Compensation for land use | Transmission developers must compensate landowners | RoW Compensation Guidelines | Guidelines | Clause 4 | “Compensation shall be paid for Right of Way usage.” | Ministry of Power | State Authorities | Central |  | Guidelines | 2024 | Mandatory
MOP-COAL-002 | Coal import compliance | Plants must import coal for blending when directed | Coal Import Advisory | Advisory | Para 2 | “Generating companies shall import coal for blending.” | Ministry of Power | CEA | Central |  | Advisory | 2024-03-04 | Mandatory
MOP-SHAKTI-002 | Coal allocation compliance | Allocation must follow SHAKTI methodology | SHAKTI Allocation Methodology | Policy | Para B(viii)(a) | “Coal allocation shall be done as per SHAKTI policy.” | Ministry of Power | Coal Controller | Central |  | Policy | 2024 | Mandatory
MOP-BIO-003 | Biomass blending levels | Plants must follow revised biomass utilisation levels | Biomass Utilisation Clarification | Clarification | Para 3 | “Biomass utilisation shall not be below notified levels.” | Ministry of Power | CEA / SPCBs | Central |  | Clarification | 2024 | Mandatory
MOP-EV-002 | EV charging standards | Operators must follow technical and safety standards | EV Charging Infrastructure Guidelines 2024 | Guidelines | Clause 5 | “All charging stations shall comply with safety standards.” | Ministry of Power | State Nodal Agency | Central |  | Guidelines | 2024-09-17 | Mandatory
MOP-BAT-002 | Battery swapping norms | Battery swapping stations must follow interoperability norms | Battery Swapping Guidelines (Draft) | Draft Guidelines | Clause 6 | “Stations shall adhere to interoperability protocols.” | Ministry of Power | State Transport | Central |  | Draft | 2024 | Mandatory
MOP-IMEX-001 | Cross-border electricity trade | Export/import of power must follow notified procedure | Import Export of Electricity Guidelines (Amended) | Guidelines | Clause 2 | “Cross border trade shall be regulated by notified guidelines.” | Ministry of Power | CERC | Central |  | Notification | 2024 | Mandatory
MOP-HYDRO-001 | CFA utilisation reporting | States must submit utilisation certificates for CFA | Hydro CFA Scheme | Scheme | Clause 7
MOP-RPO-002 | Renewable Purchase Obligation compliance | Obligated entities must procure minimum percentage of renewable power | Renewable Purchase Obligation Notification | Notification | Clause 3 | “Every obligated entity shall fulfil renewable purchase obligation.” | Ministry of Power | SERCs | Central |  | S.O. (2023) | 2023 | Mandatory
MOP-RGO-002 | Renewable Generation Obligation | Thermal generators must meet renewable generation targets | Draft RGO Notification | Draft Notification | Clause 4 | “All generating companies shall meet renewable generation obligation.” | Ministry of Power | CEA / SERCs | Central |  | Draft | 2023 | Mandatory
MOP-SEC11-003 | Mandatory generation under Section 11 | Generating companies must operate as directed by Central Government | Extension of Section 11 Directions | Order under Act | Section 11 | “All generating companies shall comply with directions issued.” | Ministry of Power | CEA | Central |  | Order | 2023 | Mandatory
MOP-COAL-003 | Coal import for blending | GENCOs/IPPs must import coal to ensure generation | Coal Import Advisory | Advisory | Para 2 | “All generating companies shall import coal for blending.” | Ministry of Power | CEA | Central |  | Advisory | 2023 | Mandatory
MOP-BIO-004 | Biomass price benchmarking | Plants must procure biomass pellets within benchmarked price | Biomass Pellet Price Benchmarking | Guideline | Clause 5 | “Procurement shall be within notified benchmark price.” | Ministry of Power | CEA | Central |  | Guideline | 2023 | Mandatory
MOP-URE-002 | Adoption of uniform RE procedure | DISCOMs must follow approved uniform renewable mechanism | Uniform Renewable Energy Procedure | Procedure Approval | Clause 2 | “All procurers shall adopt uniform renewable procedure.” | Ministry of Power | CERC / SERCs | Central |  | Approval | 2023 | Mandatory
MOP-DR-002 | Dispute resolution via conciliation | CPSUs must attempt conciliation before arbitration/litigation | CPSU Conciliation Guidelines | Guidelines | Clause 3 | “Conciliation shall be first mode of dispute resolution.” | Ministry of Power | Ministry of Power | Central |  | Guidelines | 2023 | Mandatory
MOP-STATE-001 | Levy of state charges | States must rationalise power sector charges | State Charges on Power | Advisory | Entire doc | “States shall avoid multiple levies on electricity sector.” | Ministry of Power | State Governments | State | All States | Advisory | 2023 | Advisory
MOP-CIRP-001 | Participation in CIRP | GENCOs must evaluate stressed assets under NCLT process | CIRP Advisory for Stressed Assets | Advisory | Para 4 | “GENCOs shall actively participate in CIRP for takeover.” | Ministry of Power | CEA | Central |  | Advisory | 2023 | Advisory
MOP-EA3-002 | Mandatory market participation | Generators must comply with power market trading framework | Electricity (Third Amendment) Rules (Consolidated) | Rules | Rule 5 | “All power transactions shall be undertaken through approved market mechanisms.” | Ministry of Power | CERC | Central |  | G.S.R. | 2023 | Mandatory
MOP-EA3-003 | Scheduling & dispatch compliance | Generators must adhere to scheduling and dispatch instructions | Electricity (Third Amendment) Rules (Consolidated) | Rules | Rule 7 | “Generating companies shall comply with dispatch instructions.” | Ministry of Power | NLDC / RLDCs | Central |  | G.S.R. | 2023 | Mandatory
MOP-ACC-001 | Distribution accounting disclosures | DISCOMs must maintain separate accounts for specified items | Electricity Distribution Accounting Rules (Draft) | Draft Rules | Rule 4 | “Distribution licensee shall maintain separate accounts.” | Ministry of Power | CERC / SERCs | Central |  | Draft | 2023 | Mandatory
MOP-ACC-002 | Regulatory reporting | DISCOMs must submit additional disclosures to regulators | Electricity Distribution Accounting Rules (Draft) | Draft Rules | Rule 7 | “Licensee shall submit disclosures to Commission.” | Ministry of Power | SERCs | Central |  | Draft | 2023 | Mandatory
MOP-COAL-004 | Coal import for blending | GENCOs/IPPs must import coal to maintain generation | Coal Import Direction | Direction under Act | Para 2 | “All generating companies shall import coal for blending.” | Ministry of Power | CEA | Central |  | Order | 2023 | Mandatory
MOP-ESS-001 | Registration of storage projects | Energy storage projects must be registered with regulators | National Framework for Energy Storage Systems | Policy Framework | Section 4 | “All energy storage systems shall be registered.” | Ministry of Power | CERC / SERCs | Central |  | Framework | 2023 | Mandatory
MOP-ESS-002 | Data reporting by storage operators | Storage operators must submit performance data | National Framework for Energy Storage Systems | Policy Framework | Section 7 | “Operators shall submit operational data periodically.” | Ministry of Power | CEA | Central |  | Framework | 2023 | Mandatory
MOP-TBCB-002 | Competitive bidding for hybrids | Wind-solar hybrid projects must be awarded through TBCB | TBCB Guidelines for Hybrid Projects | Guidelines | Clause 3 | “All hybrid projects shall be procured through competitive bidding.” | Ministry of Power | CERC | Central |  | Guidelines | 2023 | Mandatory
MOP-SBD-001 | Adoption of amended bid documents | Procurers must use amended SBDs for ISTS | Amendment in SBDs for ISTS | Guidelines | Clause 2 | “All procurers shall use revised standard bid documents.” | Ministry of Power | CERC | Central |  | Notification | 2023 | Mandatory
MOP-BEE-001 | BEE governance compliance | BEE must be restructured as per amended Act | Proposal for Amendment of BEE Act | Proposal / Bill | Section 3 | “Bureau shall function as per amended provisions.” | Ministry of Power | Central Government | Central |  | Bill | 2023 | Mandatory
MOP-GEOA-003 | Green open access compliance | DISCOMs must provide green open access to eligible consumers | Green Energy Open Access (Second Amendment) Rules, 2023 | Rules | Rule 3 | “Distribution licensee shall provide green open access.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2023 | Mandatory
MOP-GEOA-004 | Green tariff determination | DISCOMs must determine green tariff separately | Green Tariff under GEOA Rules | Notification | Clause 2 | “Green tariff shall be determined separately.” | Ministry of Power | SERCs | Central |  | S.O. | 2023 | Mandatory
MOP-ROC-003 | Consumer service standards | Licensees must adhere to service timelines | Electricity (Rights of Consumers) Amendment Rules, 2023 | Rules | Rule 5 | “Distribution licensee shall meet standards of performance.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2023 | Mandatory
MOP-EA2-002 | Market transaction compliance | Power trading must follow notified frameworks | Electricity (Second Amendment) Rules, 2023 | Rules | Rule 4 | “Transactions shall comply with market framework.” | Ministry of Power | CERC | Central |  | G.S.R. | 2023 | Mandatory
MOP-EA-004 | Licensing compliance | Entities must comply with amended licensing norms | Electricity Amendment Rules, 2023 | Rules | Rule 6 | “No entity shall operate without licence.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. | 2023 | Mandatory
MOP-TAR-002 | Pooling of tariff | Generators with expired PPAs must join tariff pool | Tariff Pooling Scheme | Scheme | Clause 3 | “Eligible plants shall participate in pooling mechanism.” | Ministry of Power | CEA | Central |  | Scheme | 2023 | Mandatory
MOP-PSP-001 | Pump storage approval | Pump storage projects must follow approval process | Pump Storage Guidelines | Guidelines | Clause 2 | “All PSPs shall obtain statutory clearances.” | Ministry of Power | CEA | Central |  | Guidelines | 2023 | Mandatory
MOP-SEC68-001 | Transmission approval | Approval under Section 68 required for transmission lines | Delegation of Power under Section 68 | Order | Section 68 | “No transmission line shall be constructed without approval.” | Ministry of Power | CEA | Central |  | Order | 2023 | Mandatory
MOP-NEP-001 | Long-term planning compliance | Authorities must follow National Electricity Plan | National Electricity Plan Notification | Notification | Entire plan | “Planning shall be in accordance with National Electricity Plan.” | Ministry of Power | CEA | Central |  | Gazette | 2023 | Mandatory
MOP-PPP-002 | Local content in smart meters | Procurers must apply Make in India preference | PPP–Make in India Order (Power) | Order | Clause 4 | “Preference shall be given to local suppliers.” | Ministry of Power | Procuring entities | Central |  | Order | 2023 | Mandatory
MOP-FLAG-001 | National flag usage | All offices must follow flag code | Flag Code of India 2023 | Code | Para 2 | “The National Flag shall be displayed as per code.” | Ministry of Home Affairs | All authorities | Central |  | Gazette | 2023 | Mandatory
MOP-ISTS-002 | ISTS charge waiver | Solar/wind projects eligible for transmission charge waiver | ISTS Waiver Order | Order | Clause 1 | “ISTS charges shall be waived for eligible RE projects.” | Ministry of Power | CERC | Central |  | Order | 2023 | Mandatory
MOP-SBD-002 | HVDC inclusion | HVDC systems must be included in SBD | SBD Amendment for ISTS | Guideline | Clause 3 | “HVDC systems shall form part of aggregate capital cost.” | Ministry of Power | CERC | Central |  | Notification | 2023 | Mandatory
MOP-REZ-001 | RE evacuation compliance | Transmission projects must follow REZ scheme | RE Evacuation Transmission Scheme | Scheme | Clause 2 | “Transmission shall be developed for RE integration.” | Ministry of Power | PFCCL / CEA | Central |  | Scheme | 2023 | Mandatory
MOP-ECA-001 | Mandatory energy efficiency compliance | Designated consumers must comply with energy efficiency standards | Energy Conservation (Amendment) Act, 2022 | Act | Section 14 | “Designated consumers shall comply with prescribed energy efficiency norms.” | Ministry of Power | BEE | Central |  | Gazette of India | 2022 | Mandatory
MOP-ECA-002 | Carbon market participation | Covered entities must participate in carbon credit trading | Energy Conservation (Amendment) Act, 2022 | Act | Section 14A | “Central Government may establish carbon credit trading scheme.” | Ministry of Power | BEE | Central |  | Gazette of India | 2022 | Mandatory
MOP-EA22-001 | Licensing and operation norms | Entities must operate as per amended Electricity Rules | Electricity (Amendment) Rules, 2022 | Rules | Rule 6 | “No entity shall operate without licence.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. | 2022 | Mandatory
MOP-GEOA22-001 | Green open access provision | DISCOMs must allow green open access | Green Energy Open Access Amendment Rules, 2023 | Rules | Rule 3 | “Distribution licensee shall provide green open access.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2023 | Mandatory
MOP-RGO-003 | Renewable generation obligation | Thermal generators must meet RGO targets | Renewable Generation Obligation | Policy / Notification | Clause 4 | “Generating companies shall meet renewable generation obligation.” | Ministry of Power | CEA / SERCs | Central |  | Notification | 2022 | Mandatory
MOP-RPO-003 | RPO & ESO trajectory | Obligated entities must meet RPO and storage targets | RPO & ESO Trajectory Corrigendum | Notification | Clause 2 | “Obligated entities shall comply with trajectory till 2029-30.” | Ministry of Power | SERCs | Central |  | S.O. | 2022 | Mandatory
MOP-ASH-001 | Fly ash supply | Power plants must supply fly ash to end users | Fly Ash Utilisation Order | Order | Para 3 | “All thermal power plants shall make fly ash available.” | Ministry of Power | SPCBs | Central |  | Order | 2022 | Mandatory
MOP-COAL-005 | Fair distribution of coal | Generators must follow domestic coal allocation mechanism | Coal Distribution Advisory | Advisory | Para 2 | “Available domestic coal shall be fairly distributed.” | Ministry of Power | CEA / Coal Controller | Central |  | Advisory | 2022 | Mandatory
MOP-S63-001 | Competitive procurement | Power procurement under SHAKTI must follow Section 63 | Guidelines under Section 63 | Guidelines | Clause 3 | “Tariff shall be discovered through competitive bidding.” | Ministry of Power | CERC | Central |  | Guidelines | 2022 | Mandatory
MOP-MFG-001 | Local manufacturing zones | Power equipment manufacturing must follow zone guidelines | Manufacturing Zone for Power & RE Equipment | Policy | Clause 2 | “Manufacturing shall be promoted in designated zones.” | Ministry of Power | DPIIT | Central |  | Policy | 2022 | Advisory
MOP-PSP-002 | Pump storage approvals | PSPs must obtain statutory approvals | PSP Development Guidelines (Draft) | Draft Guidelines | Clause 4 | “All PSPs shall obtain environmental and statutory clearances.” | Ministry of Power | CEA | Central |  | Draft | 2022 | Mandatory
MOP-GEN-001 | Compliance with consolidated guidelines | Entities must follow revised power sector guidelines | Amendment to Consolidated Guidelines | Guidelines | Clause 2 | “All stakeholders shall comply with revised guidelines.” | Ministry of Power | CEA | Central |  | OM | 2022-01-14 | Mandatory
MOP-WRES-001 | Transmission project compliance | TSP must implement scheme through TBCB | Western Region Expansion Scheme XXVII | Scheme | Clause 3 | “Transmission shall be implemented through TBCB mode.” | Ministry of Power | PFCCL / CERC | Central |  | Scheme | 2022 | Mandatory
MOP-RLDC-001 | Mandatory RE scheduling | RLDCs must schedule renewable power as per notified framework | Directions to RLDCs under Section 37 | Direction under Act | Section 37 | “RLDCs shall schedule renewable energy in accordance with directions.” | Ministry of Power | NLDC / RLDCs | Central |  | Order | 2022 | Mandatory
MOP-FLEX-001 | Flexibility in generation | Thermal and hydro stations must participate in flexible scheduling | Flexibility in Generation & Scheduling Scheme | Scheme | Clause 3 | “Generating stations shall offer flexibility for RE integration.” | Ministry of Power | CEA / RLDCs | Central |  | Scheme | 2022 | Mandatory
MOP-DLIC-001 | Distribution licence compliance | Distribution licensees must comply with amended licensing conditions | Distribution of Electricity Licence Amendment Rules, 2022 | Rules | Rule 4 | “Distribution licensee shall operate as per amended licence.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2022 | Mandatory
MOP-LPS-002 | Late payment surcharge enforcement | DISCOMs must clear dues or pay LPS | LPS Direction to States | Direction | Entire letter | “Outstanding dues shall attract late payment surcharge.” | Ministry of Power | CERC / SERCs | Central |  | OM | 2022-08-26 | Mandatory
MOP-TBCB-003 | Competitive bidding compliance | Procurers must follow amended TBCB guidelines | TBCB Guidelines Amendment | Guidelines | Clause 2 | “Procurement shall be through tariff based competitive bidding.” | Ministry of Power | CERC | Central |  | Notification | 2022 | Mandatory
MOP-RPO-004 | RPO & ESO trajectory compliance | Obligated entities must meet RPO & storage targets till 2029-30 | RPO & ESO Trajectory Notification | Notification | Clause 2 | “Obligated entities shall comply with trajectory till 2029-30.” | Ministry of Power | SERCs | Central |  | S.O. | 2022 | Mandatory
MOP-CONN-001 | Connectivity policy compliance | Generators must follow connectivity norms | Policy for Connectivity to Generating Stations (CPSE) | Policy | Clause 3 | “Connectivity shall be granted as per policy framework.” | Ministry of Power | CEA / CTU | Central |  | Policy | 2022 | Mandatory
MOP-GOV-001 | Governance framework | Power sector entities must follow notified governance resolution | Resolution dated 26-08-2022 | Resolution | Entire resolution | “All stakeholders shall comply with governance framework.” | Ministry of Power | CEA | Central |  | Resolution | 2022 | Mandatory
MOP-HPM-001 | High price market participation | Power exchanges must follow high price market rules | High Price Market Segment (Draft) | Draft Consultation | Clause 4 | “Transactions shall be permitted in high price segment.” | Ministry of Power | CERC | Central |  | Draft | 2022 | Advisory
MOP-ROC-005 | Consumer grievance timelines | DISCOMs must resolve consumer complaints within prescribed time | Electricity (Rights of Consumers) Amendment Rules, 2022 | Rules | Rule 3 | “Distribution licensee shall resolve complaints within the specified time.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2022 | Mandatory
MOP-ROC-006 | Compensation for supply failure | DISCOMs must pay compensation for service failures | Electricity (Rights of Consumers) Amendment Rules, 2022 | Rules | Rule 4 | “Compensation shall be payable for failure to meet standards.” | Ministry of Power | SERCs | Central |  | G.S.R. | 2022 | Mandatory
MOP-FLEX-002 | Flexible generation participation | Thermal and hydro plants must offer flexibility for RE integration | Scheme for Flexibility in Generation & Scheduling | Scheme | Clause 3 | “Generating stations shall participate in flexible scheduling.” | Ministry of Power | CEA / RLDCs | Central |  | Scheme | 2022 | Mandatory
MOP-SEC11-004 | Mandatory generation under govt directions | Generators must operate when directed by Central Government | Directions to Generating Companies under Section 11 | Order under Act | Section 11 | “All generating companies shall comply with directions issued.” | Ministry of Power | CEA / RLDCs | Central |  | Order | 2022 | Mandatory
MOP-COAL-006 | Domestic coal utilisation | GENCOs must maximise generation using domestic coal | Direction to GENCOs having Domestic Coal Plants | Direction | Para 2 | “Generating companies shall maximise production from domestic coal.” | Ministry of Power | CEA | Central |  | Order | 2022 | Mandatory
MOP-RE-TRAJ-001 | RE replacement trajectory | Utilities must plan replacement of thermal with RE capacity | RE Replacement Trajectory 58000 MU | Policy | Entire document | “Thermal energy shall be progressively replaced with renewable energy.” | Ministry of Power | CEA | Central |  | Policy | 2022 | Advisory
MOP-DR-003 | Mandatory conciliation before litigation | CPSUs must attempt conciliation for disputes | CPSU & CCI Conciliation Guidelines | Guidelines | Clause 3 | “Conciliation shall be first mode of dispute resolution.” | Ministry of Power | Ministry of Power | Central |  | Guidelines | 2022 | Mandatory
MOP-MEGA-001 | Mega power eligibility | Projects must meet revised criteria for mega power benefits | Amendment to Mega Power Policy, 2009 | Policy | Clause 2 | “Projects shall qualify as mega power as per revised criteria.” | Ministry of Power | CEA | Central |  | Policy | 2022 | Mandatory
MOP-SHAKTI-003 | Coal allocation compliance | Coal allocation must follow amended SHAKTI methodology | SHAKTI Coal Allocation Methodology (Amended) | Policy | Para B | “Coal allocation shall be as per SHAKTI policy.” | Ministry of Power | Coal Controller | Central |  | Policy | 2022 | Mandatory
MOP-BIO-005 | Biomass policy applicability | CFBC boilers must comply with revised biomass norms | Biomass Policy Clarification (CFBC) | Clarification | Para 3 | “Revised biomass policy shall apply to CFBC boilers.” | Ministry of Power | CEA / SPCBs | Central |  | Clarification | 2022 | Mandatory
MOP-COMM-001 | Communication system standards | ISTS projects must follow communication planning guidelines | Communication System Planning Guidelines | Guidelines | Clause 2 | “All ISTS projects shall comply with communication standards.” | Ministry of Power | CEA / CTU | Central |  | Guidelines | 2022 | Mandatory
MOP-BESS-001 | Energy storage framework | Energy storage systems must follow notified standards | BESS Policy / Framework | Policy | Section 4 | “All battery energy storage systems shall comply with standards.” | Ministry of Power | CERC / SERCs | Central |  | Policy | 2022 | Mandatory
MOP-PPP-003 | Local content preference | Procurers must apply Make in India preference for power sector | PPP–Make in India Order (Power Sector) | Order | Clause 3 | “Purchase preference shall be given to local suppliers.” | Ministry of Power | Procuring entities | Central |  | Order | 2021-11-16 | Mandatory
MOP-FLEX-003 | Flexible generation participation | Thermal & hydro stations must offer flexibility for RE integration | Scheme for Flexibility in Generation & Scheduling | Scheme | Clause 3 | “Generating stations shall participate in flexible scheduling.” | Ministry of Power | CEA / RLDCs | Central |  | Scheme | 2021 | Mandatory
MOP-ASH-002 | Fly ash supply | Thermal power plants must supply fly ash to end users | Fly Ash Utilisation Order | Order | Para 3 | “All thermal power plants shall make fly ash available.” | Ministry of Power | SPCBs | Central |  | Order | 2021 | Mandatory
MOP-TAR-003 | Automatic tariff pass-through | DISCOMs must allow automatic pass-through of fuel costs | Automatic Pass-Through Tariff Order | Order | Clause 2 | “Fuel cost shall be allowed as pass-through in tariff.” | Ministry of Power | SERCs | Central |  | Order | 2021 | Mandatory
MOP-CL-001 | Change in law recovery | Generators must be compensated for change in law costs | Electricity (Timely Recovery of Costs) Rules, 2021 | Rules | Rule 4 | “Appropriate Commission shall ensure recovery of costs.” | Ministry of Power | CERC / SERCs | Central |  | G.S.R. | 2021 | Mandatory
MOP-MR-001 | Must-run operation | Must-run plants shall not be backed down | Must-Run Power Plant Rules, 2021 | Rules | Rule 3 | “Must-run power plants shall not be curtailed.” | Ministry of Power | RLDCs | Central |  | G.S.R. | 2021 | Mandatory
MOP-BIO-006 | Biomass contract compliance | Biomass procurement must follow approved model contract | Approved Model Contract for Biomass | Model Contract | Entire contract | “Procurement shall be governed by this model contract.” | Ministry of Power | DISCOMs | Central |  | Contract | 2022-03-02 | Mandatory
MOP-H2-001 | Green hydrogen obligations | Projects must comply with green hydrogen policy norms | Green Hydrogen Policy | Policy | Clause 4 | “Hydrogen production shall meet green criteria.” | Ministry of Power | MNRE / MoP | Central |  | Policy | 2022 | Mandatory
MOP-REZ-002 | RE evacuation compliance | TSP must implement REZ transmission via TBCB | REZ Rajasthan Transmission Scheme | Scheme | Clause 3 | “Transmission shall be implemented through TBCB mode.” | Ministry of Power | PFCCL / CERC | Central |  | Scheme | 2022 | Mandatory
MOP-LPS-003 | LPS recovery | DISCOMs must clear dues or pay LPS | Late Payment Surcharge Extension | Direction | Entire letter | “Outstanding dues shall attract LPS.” | Ministry of Power | CERC / SERCs | Central |  | OM | 2022 | Mandatory
MOP-EV-003 | EV charging standards | All public chargers must follow safety & technical norms | EV Charging Infrastructure Guidelines 2022 | Guidelines | Clause 5 | “All charging stations shall comply with standards.” | Ministry of Power | State Nodal Agency | Central |  | Guidelines | 2022-01-01 | Mandatory
MOP-LPS-004 | Draft LPS compliance | DISCOMs must comply with new LPS framework | Draft LPS Rules, 2021 | Draft Rules | Rule 3 | “Delayed payments shall attract surcharge.” | Ministry of Power | CERC / SERCs | Central |  | Draft | 2021 | Mandatory
MOP-DR-004 | Mandatory conciliation | CPSUs must attempt conciliation for disputes | CPSU Conciliation Guidelines | Guidelines | Clause 3 | “Conciliation shall be first mode of dispute resolution.” | Ministry of Power | Ministry of Power | Central |  | Guidelines | 2021 | Mandatory
MOP-DA-001 | Dispute avoidance | Independent engineer must be appointed | Dispute Avoidance Guidelines | Guidelines | Clause 2 | “Independent engineer shall be appointed for dispute avoidance.” | Ministry of Power | Procuring entities | Central |  | Guidelines | 2021 | Mandatory
MOP-RDSS-001 | Compliance with RDSS reforms | DISCOMs must implement loss reduction and smart metering reforms | Revamped Distribution Sector Scheme | Scheme | Para 3 | “DISCOMs shall implement reforms under RDSS.” | Ministry of Power | REC / PFC / SERCs | Central |  | OM | 2021 | Mandatory
MOP-HYDRO-002 | Dispute avoidance in hydro contracts | Hydro projects must appoint independent engineer for dispute avoidance | Hydro Contracts for Dispute Avoidance | Guidelines | Clause 2 | “Independent engineer shall be appointed for dispute avoidance.” | Ministry of Power | CEA | Central |  | Guidelines | 2021 | Mandatory
MOP-GAZ-001 | Compliance with gazette provisions | Entities must comply with notified power sector amendments | Gazette Notification dated 01-10-2021 | Notification | Entire notification | “All stakeholders shall comply with provisions herein.” | Ministry of Power | CEA / Regulators | Central |  | Gazette of India | 2021-10-01 | Mandatory
MOP-HYDRO-003 | Utilisation of flood moderation support | States must use budgetary support for designated hydro projects | Budgetary Support for Flood Moderation Storage HEPs | Scheme | Clause 4 | “Budgetary support shall be utilised only for notified projects.” | Ministry of Power | CEA | Central |  | Scheme | 2021 | Mandatory
MOP-ASH-003 | Fly ash utilisation | Thermal plants must supply fly ash to end users | Fly Ash Utilisation Letter | Direction | Para 2 | “All thermal power plants shall supply fly ash.” | Ministry of Power | SPCBs | Central |  | OM | 2021-09-22 | Mandatory
MOP-INQ-001 | Inquiry procedure compliance | Appropriate Commissions must follow inquiry procedure | Inquiry Procedure Rules (Draft) | Draft Rules | Rule 4 | “Inquiry shall be conducted as per prescribed procedure.” | Ministry of Power | Central Govt | Central |  | Draft | 2021 | Mandatory
MOP-33KV-001 | 33kV system under transmission | Utilities must treat 33kV as transmission for planning | 33kV System Performance Order | Policy | Clause 3 | “33kV system shall be treated as part of transmission.” | Ministry of Power | CEA | Central |  | Order | 2021 | Mandatory
MOP-LPS-005 | Late payment surcharge compliance | DISCOMs must clear dues or pay surcharge | Draft LPS Amendment Rules, 2021 | Draft Rules | Rule 3 | “Delayed payments shall attract surcharge.” | Ministry of Power | CERC / SERCs | Central |  | Draft | 2021 | Mandatory
MOP-GEOA-005 | Green open access | DISCOMs must allow green open access | Draft GEOA Rules, 2021 | Draft Rules | Rule 3 | “Distribution licensee shall provide green open access.” | Ministry of Power | SERCs | Central |  | Draft | 2021 | Mandatory
MOP-TBCB-004 | Competitive procurement | Transmission projects must follow TBCB | Revised TBCB Guidelines & SBDs | Guidelines | Clause 2 | “Procurement shall be through tariff based competitive bidding.” | Ministry of Power | CERC | Central |  | Guidelines | 2021 | Mandatory
MOP-BIO-007 | Biomass utilisation norms | Thermal plants must follow revised biomass blending norms | Revised Biomass Policy | Policy | Clause 4 | “Biomass co-firing shall be mandatory.” | Ministry of Power | CEA / SPCBs | Central |  | Policy | 2021-10-08 | Mandatory
MOP-RPC-001 | Transmission planning governance | Transmission planning must follow new institutional structure | Dissolution of Regional Power Committees | Order | Entire order | “Transmission planning shall be undertaken under revised structure.” | Ministry of Power | CEA | Central |  | Order | 2021 | Mandatory